## Slide 1: Data Center Outage
Presented by:
Deena Al-Busaidi
Quds Al-Jabri
Nouf Al-Rashdi
Khadija Al-Zadjali

## Slide 2: Table of contents 01 Data Exploration Bayesian Network 03 Estimating Conditional Probabilities 04 02 Introduction
05
Dependency

## Slide 3: Introduction
Why Do Servers Crash? This project explores real data from a data center to find out what causes servers to crash. We looked at CPU load, power supply, disk usage, network traffic, and malware.
High CPU load led to 17 crashes.
Unstable power caused nearly 89% of crashes.
High network traffic raised the chance of critical disk usage to 41.7%.
We built a Bayesian model to understand how these factors are connected and to help prevent future crashes.

## Slide 4: Data Exploration

## Slide 5: The Structure of the Data
Variable | Values (Categories) | Type
CPU Load | Low, Medium, High | Categorical
Power Supply | Stable, Fluctuating, Failed Stable | Categorical
Network Traffic | Low, Medium, High | Categorical
Disk Usage | Normal, High, Critical | Categorical
Malware Detected | True, False | Binary
Server Crash | True, False | Binary

## Slide 6: Impact of CPU Load on Server Stability

## Slide 7: Impact of Power supply on Server Stability

## Slide 8: Bayesian Network

## Slide 9: Conditional Probability Tables (CPTs)
CPU_Load | Power_Supply | Disk_Usage | Malware_Detected | FALSE | TRUE
High | Failed | Critical | 0 | 0 | 1
High | Fluctuating | Critical | 1 | 0 | 1
High | Fluctuating | High | 0 | 0 | 1
High | Fluctuating | High | 1 | 0 | 1
High | Stable | Critical | 0 | 0 | 1
High | Stable | Critical | 1 | 0 | 1
High | Stable | High | 0 | 0.25 | 0.75
High | Stable | High | 1 | 0 | 1
Low | Stable | Normal | 0 | 1 | 0
Medium | Failed | High | 0 | 0 | 1
Medium | Fluctuating | High | 0 | 0 | 1
Medium | Stable | High | 0 | 1 | 0
Medium | Stable | Normal | 0 | 1 | 0
Network_Traffic | Critical | High | Normal
High | 0.416666667 | 0.583333333 | 0
Low | 0.052631579 | 0.052631579 | 0.894736842
Medium | 0.052631579 | 0.631578947 | 0.315789474

## Slide 10: Estimating Conditional Probabilities
CPU_ Load (High) & Power_Supply (Fluctuating) | 4
CPU_ Load (High) & Power_Supply (Fluctuating) & Server_Crash | 4
P(Server_Crash = TRUE ¦ CPU_Load = High & Power_Supply = Fluctuating) | 1

## Slide 11: Estimating Conditional Probabilities
Server_Crash = TRUE | 21 | 
Malware_Detected = TRUE | 7 | 
Malware_Detected = FALSE (for completeness) | 14 | 
Malware = True | 0.33 | 33.33
Malware= False | 0.67 | 66.67
If a Server_Crash occurred, the most likely state of Malware_Detected is FALSE, with a probability of approximately 66.6% |  | 

## Slide 12: Estimating Conditional Probabilities
Disk_Usage = Critical | 7 | 
Disk_Usage = Critical / Total | 0.14 | 14
Unconditional Probability = 14% |  | 
Network_Traffic = High | 12 | 
Network_Traffic = High AND Disk_Usage = Critical | 5 | 
Given Network_Traffic=High | 0.417 | 41.67
Network_Traffic = High increases the likelihood of Disk_Usage being Critical from 14% to 41.67%. |  | 

## Slide 13: How Network Traffic Overloads Disks?
Marginal Probabilities | 
P (Disk_Usage = High) | P (Network_Traffic = High)
P (20/50) = 0.40 | P (12/50) = 0.24
Joint Probability
P (Disk_Usage = High ∧ Network_Traffic = High)
P (8/50) = 0.16
Conditional Probability
P (Disk_Usage = High ∣ Network_Traffic = High)
P (Disk_Usage = High ∧ Network_Traffic = High) / P (Network_Traffic = High)
P (0.16/0.24) = 0.6667
Product Probability
P (Disk_Usage = High) * P (Network_Traffic = High)
P (0.40 * 0.24) = 0.096
Comparison for Independence Check
P (Disk_Usage ∣ Network_Traffic) = P (Disk_Usage) * P(Network_Traffic)
0.6667 ≠ 0.096
Since 0.6667 ≠ 0.096, the variables are not independent

## Slide 14: Power Instability = Guaranteed Crash
Marginal Probabilities |  |  | 
Variables | Value | Count | Probability
Power_Supply | Stable | 38 | P (38/50) = 0.76
 | Fluctuating | 7 | P (7/50) = 0.14
 | Failed | 5 | P (5/50) = 0.10
Server_Crash | True | 21 | P (21/50) = 0.42
 | False | 29 | P (29/50) = 0.58
Conditional Probability |  | 
P (Server_Crash = True ∣ Power_Supply) |  | 
Power_Supply | Server_Crash = True Count | Probability
Stable | 6 | P (6/38) = 0.158
Fluctuating | 7 | P (7/7) = 1.0
Failed | 5 | P (5/5) = 1.0
A key insight from the analysis is that non-stable power—whether fluctuating or failed—consistently leads to system crashes, with a probability of 1.0. |  | 

## Slide 15: Power Instability = Guaranteed Crash
Joint Probability | 
P (Server_Crash ∧ Fluctuating) | P (Server_Crash ∧ Failed)
P (7/50) = 0.14 | P (5/50) = 0.10
Product Probability | 
P (Server_Crash) * P (Fluctuating) | P (Server_Crash) * P (Failed)
P (0.42 * 0.14) = 0.0588 | P (0.42 * 0.10) = 0.042
Comparison for Independence Check | 
P (Server_Crash ∧ Fluctuating) = P (Server_Crash) * P (Fluctuating) | P (Server_Crash ∧ Failed) = P (Server_Crash) * P (Failed)
0.14 ≠ 0.0588 | 0.10 ≠ 0.042
Since 0.14 ≠ 0.0588, the variables are not independent | Since 0.10 ≠ 0.042, the variables are not independent

## Slide 16: Malware’s Surprising Role in Crashes
Marginal Probabilities | 
P (Malware_Detected = True) | P (Server_Crash = True)
P (7/50) = 0.14 | P (21/50) = 0.42
Joint Probability
P (Malware ∧ Crash)
P (7/50) = 0.14
Conditional Probability
P (Malware_Detected = True ∣ Server_Crash = True)
P (Malware ∧ Crash) / P (Malware_Detected = True)
P (0.14/0.14) = 1.0
Product Probability
P (Malware) * P (Crash)
P (0.14 * 0.42) = 0.0588
Comparison for Independence Check
P (Malware ∧ Crash) = P (Malware) * P (Crash)
0.14 ≠ 0.0588
Since 0.14 ≠ 0.0588, the variables are not independent

## Slide 17: Why High CPU Load is a Ticking Bomb
Marginal Probabilities | 
P (CPU_Load = High) | P (Server_Crash = True)
P (19/50) = 0.38 | P (21/50) = 0.42
Joint Probability
P (High CPU ∧ Crash)
P (14/50) = 0.28
Conditional Probability
P (CPU_Load = High ∣ Server_Crash = True)
P (High CPU ∧ Crash) / P (High CPU_Load)
P (0.28/0.38) = 0.737
Product Probability
P (Malware) * P (Crash)
P (0.38 * 0.42) = 0.1596
Comparison for Independence Check
P (Malware ∧ Crash) = P (Malware) * P (Crash)
0.737 ≠ 0.1596
Since 0.737 ≠ 0.1596, the variables are not independent

## Slide 18: Conclusion
High CPU load, unstable power, and high network traffic are major causes of server crashes.
Bayesian analysis showed these factors are closely linked and can help predict risks.
Most crashes were not due to malware.
Monitoring these system metrics can help avoid downtime.